## List 1
PICT. | POS. | PART NR | DESCRIPTION | € | DA/FROM | FINO A/TO | NOTE / NOTES
1 | 1 | 20632318 | EXTERIOR BRACKET FOR LIFTING |  |  |  | R/9005
1 | 2A | 20632307 | RIGHT INTERNAL SIDE PANEL |  |  |  | R/3000
1 | 2B | 20632358 | LEFT INTERNAL SIDE PANEL |  |  |  | R/3000
1 | 3 | 20623004 | INTERIOR BRACKET FOR LIFTING
1 | 4 | 20622967 | STIFFENING SIDE BRACKET
1 | 5 | 20622956 | INTERIOR SIDE PANEL
1 | 6 | 20632308 | EXTERNAL TOP PANEL |  |  |  | R/3000
1 | 7 | 20622461 | SHIELD SUPPORT BRACKET
1 | 8 | 20622960 | INTERNAL TOP PANEL
1 | 9 | 20020016 | V-BELT |  |  |  | AX 53 13 X 1350
1 | 10 | 20260021 | TAPER BUSH |  |  |  | D.int.25mm D.ext.70
1 | 11 | 20260037 | PULLEY |  |  |  | Diam. 90 X 2A x BUSH 16
1 | 12 | 20400072 | MOTOR |  |  |  | 3,0kW 230/60 4p
1 | 13 | 20632356 | CAGE |  |  |  | R/3000
1 | 14 | 20632201 | AIR DOOR BRACKET |  |  |  | R/3000
1 | 15 | 20632202 | AIR DOOR |  |  |  | R/3000
1 | 16 | 20622377 | MOTOR SUPPORT BRACKET
1 | 17 | 20200019 | CENTRIFUGAL FAN |  |  |  | BC15/15
1 | 18 | 20260015 | PULLEY |  |  |  | Diam. 180 X 2 BUSH 2012
1 | 19 | 20260045 | TAPER BUSH |  |  |  | D.int.28mm D.ext.95 mm - HER 220C
1 | 20 | 20623660 | SUPPORT BRACKET FOR FAN
1 | 21 | 20632357 | INSPECTION COVER |  |  |  | R/3000 HER 220 C
1 | 22 | 20623660 | SUPPORT BRACKET FOR FAN
1 | 23 | 20632359 | REAR PANEL |  |  |  | R/3000 - HER 220C
1 | 24 | 20020006 | GASKET |  |  |  | D.19 mm
1 | 25 | 20621211 | FAN STIFFENING BRACKET
1 | 26 | 20622543 | LEFT VERTICAL SUPPORT FOR FAN
1 | 27 | 20622544 | RIGHT VERTICAL SUPPORT FOR FAN
1 | 28 | 20622502 | HORIZONTAL BRACKET FOR FAN
1 | 29 | 20623666 | REAR SHIELD
1 | 30 | 20620117 | INSPECTION COVER |  |  |  | R/3000
1 | 31 | 20060001 | GASKET COVER
1 | 32 | 20090046 | COMBUSTION CHAMBER W/EXCHANGER
1 | 33 | 20623664 | BOTTOM PROTECTION FOR BODY
1 | 34 | 20623658 | BRACKET FOR BODY'S PROTECTION
1 | 35 | 20622952 | CHAMBER SUPPORT BRACKET
1 | 36 | 20632309 | EXTERNAL BOTTOM BODY
1 | 37 | 20623641 | FORK POCKET SUPPORT
1 | 38 | 20623639 | LEFT FORK POCKET
1 | 39 | 20230315 | LOCKING WHEEL SEEGER
1 | 40 | 20040023 | WHEEL |  |  |  | D.415 x D.25 350 KG - FOAM FILLED
1 | 41 | 20623643 | WASHER |  |  |  | D.65 - Di.26
1 | 42 | 20632317 | AXLE |  |  |  | BLACK R/9005
1 | 43 | 20622954 | PIVOTING WHEEL SUPPORT
1 | 44 | 20040021 | PIVOTING WHEEL W/BRAKE |  |  |  | D180x45
1 | 45 | 20610235 | HANDLE |  |  |  | R/9005
1 | 46 | 20230267 | WASHER |  |  |  | 8x32x2,5 ISO7093
1 | 47 | 20010069 | KNOB |  |  |  | D.60 M8x25
1 | 48 | 20230062 | SCREW |  |  |  | D.4,8x9,5 ISO7049C15
1 | 49 | 20623637 | RIGHT FORK POCKET
1 | 50 | 20623000 | INTERNAL FRONT PANEL
1 | 51 | 20632315 | FRONT PANEL |  |  |  | R/3000
1 | 52 | 20632320 | AIR OUTLET BRACKET |  |  |  | R/3000
1 | 53 | 20230293 | HOOK FOR CLOSING LEVER
1 | 54 | 20622545 | BRACKET COVER DIESEL BURNER
1 | 55 | 20632166 | ELECTRICAL BOARD SUPPORT BRACKET |  |  |  | R/9005
1 | 56 | 20210071 | DIESEL BURNER NOZZLE |  |  |  | 4,50 GPH 60 GR. S DANF
1 | 57 | 20060019 | GASKET |  |  |  | D.63 mm - THERMO-INSULATING
1 | 58 | 20800019 | INSPECTION GLASS |  |  |  | D.35 mm
1 | 59 | 20020004 | GASKET |  |  |  | D. 29X35X2
1 | 60 | 20621824 | INSPECTION GLASS RING
1 | 61 | 20120121 | "L" FITTING |  |  |  | 3/8M+3/8F GIREV. 60°
1 | 62A | 20190041 | COMPLETE TIGER LOOP OIL FILTER
1 | 62B | 20190047 | FILTER CARTRIDGE
1 | 63 | 20120001 | "L" FITTING |  |  |  | L 3/8Mcil.60°+3/8Mcil.
1 | 64 | 20624261 | SHIELD DIESEL BURNER BRACKET
1 | 65 | 20580001 | DIESEL BURNER |  |  |  | RIELLO F15
1 | 66 | 20632316 | BURNER COVER SUPPORT |  |  |  | R/3000
1 | 67 | 20230292 | CLOSING LEVER
1 | 68 | 20632372 | DIESEL BURNER COVER |  |  |  | R/3000
1 | 69 | 20480116 | ELECTRICAL BOX |  |  |  | WITH HOLES
1 | 70 | 20623740 | THERMOSTAT SUPPORT
1 | 71 | 20360047 | LIMIT THERMOSTAT |  |  |  | 79-91 °C
1 | 72 | 20360048 | FAN THERMOSTAT |  |  |  | 22-38 °C
1 | 73 | 20320063 | THERMAL RELAY
1 | 74 | 20340019 | REMOTE SWITCH
1 | 75 | 20350021 | FUSE HOLDER |  |  |  | 10,3X38 32A
1 | 76 | 20350024 | FUSE |  |  |  | 10,3X38 25A 400V
1 | 77 | 20070045 | RELAY SUPPORT |  |  |  | 10A 250V
1 | 78 | 20070044 | RELAY |  |  |  | 8A 250V
1 | 79 | 20340015 | TERMINAL |  |  |  | MA 2,5/5 D2
1 | 80 | 20340016 | TERMINAL |  |  |  | MA 2,5/5 P 300A
1 | 81 | 20320052 | SWITCH |  |  |  | 1-POLE 3 POS.
1 | 82 | 20320058 | LIGHT SWITCH
1 | 83 | 20360046 | SAFETY THERMOSTAT
1 | 84 | 20430034 | THERMOSTAT SOCKET CASING
1 | 85 | 20430028 | THERMOSTAT SOCKET |  |  |  | 4P+T
1 | 86 | 20430029 | THERMOSTAT PLUG |  |  |  | 4P+T
1 | 87 | 20430035 | THERMOSTAT PLUG CASING
1 | 88 | 20430050 | PLUG |  |  |  | 20A 125/250V 3P+T
1 | 89 | 20480108 | COMPLETE ELECTRICAL BOX
1 | 90 | 20622880 | SHIELD GAS BURNER BRACKET
1 | 91 | 3006703* | GAS BURNER NOOZLE |  |  |  | *RIELLO CODE
1 | 92 | 20590041 | COMPLETE GAS BURNER |  |  |  | WITH GAS TRAIN - INLET - RIELLO G750
1 | 93 | 20632373 | GAS BURNER COVER |  |  |  | R/3000
1 | 94 | C8311760* | GAS TRAIN |  |  |  | *RIELLO CODE
1 | 95 | 20230075 | SCREW |  |  |  | TE 4,8x16
1 | 96 | 20620087 | BULB FASTENER
1 | 97 | 20623662 | BULB SUPPORT BRACKET

## List 2
PICT. | POS. | RIELLO PART NR | DESCRIPTION | € | FROM | TO | NOTES
2 | 1 | 3020510 | BURNER BRACKET COVER
2 | 2 | 3006571 | 3/8'' NPT/METRIC ADAPTER |  |  |  | MALE
2 | 3 | 3006994 | PIPE CONNECTOR |  |  |  | SUPPLY AND RETURN
2 | 4 | 3005847 | 1/4'' NPT/METRIC ADAPTER |  |  |  | FEMALE
2 | 5 | 3007077 | CRUSHABLE METAL WASHER
2 | 6 | 3007568 | BLEEDER
2 | 7 | 3007028 | O-RING - PUMP PRESSURE REGULATOR
2 | 8 | 3007202 | REGULATOR SCREW
2 | 9 | 3007162 | O-RING - PUMP COVER
2 | 10 | 3005719 | PUMP SCREEN
2 | 11 | 3006925 | VALVE STEM
2 | 12 | 3007203 | VALVE STEM PLATE
2 | 13 | 3007029 | O-RING - VALVE STEM UPPER
2 | 14 | 3007156 | O-RING - VALVE STEM LOWER
2 | 15 | 3002278 | PRIMARY CONTROL SUB BASE
2 | 16 | 3007268 | NOZZLE OUTLET FITTING
2 | 17 | 3007087 | CRUSHABLE METAL WASHER
2 | 18 | 3006553 | COIL U-BRACKET AND KNURLET NUT
2 | 19 | 3002279 | COIL
2 | 20 | 3007802 | PUMP
2 | 21 | 3000443 | PUMP DRIVE KEY
2 | 22 | 3005845 | MOTOR
2 | 23 | 3007318 | AIR TUBE COVER
2 | 24 | 3002280 | PHOTO-CELL
2 | 25 | 20010004 | PRIMARY CONTROL 530SE/C 24V
2 | 26 | 3005849 | SEMI FLANGE
2 | 27 | 3005852 | MOUNTING GASKET
2 | 28 | 3005851 | UNIVERSAL MOUNTING FLANGE
2 | 29 | 3007206 | MANUAL AIR SHUTTER
2 | 30 | 3007211 | AIR INTAKE HOUSING
2 | 31 | 3005799 | FAN
2 | 32 | 3007358 | ACOUSTIC LINER
2 | 33 | 3005846 | CAPACITOR |  |  |  | 16 Μf
2 | 40 | 3949171 | SHORT COMBUSTION HEAD
2 | 41 | 3005892 | SHORT AIR TUBE
2 | 42 | 3005879 | TURBOLATOR DISC
2 | 43 | 3005896 | CROSS - CASTING
2 | 44 | 3006965 | NOZZLE ADAPTER
2 | 45 | 3006987 | NOZZLE OIL TUBE
2 | 46 | 3005900 | REGULATOR ASSEMBLY
2 | 47 | 3005902 | ELECTRODE ASSEMBLY
2 | 48 | 3005869 | ELECTRODE PORCELAIN
2 | 49 | 3005895 | END CONE
2 | 60 | 3007816 | CAPILLARY TUBE |  |  |  | OPTIONAL
2 | 61 | 3006911 | HYDRAULIC JACK |  |  |  | OPTIONAL
2 | 62 | 3000880 | HYDRAULIC AIR SHUTTER |  |  |  | OPTIONAL
2 | 63 | 3002762 | DUCTED COMBUSTION AIR INTAKE KIT |  |  |  | OPTIONAL

## Picture 3
da aggiornare

## List 3
PICT. | POS. | RIELLO PART NR | DESCRIPTION | € | FROM | TO | NOTES
3 | 1 | 3007246 | BURNER BACK COVER
3 | 2 | 3020314 | AIR PRESSURE SWITCH
3 | 3 | 3005845 | BURNER MOTOR
3 | 4 | 3007288 | AIR SWITCH TUBE AND CONNECTOR
3 | 5 | 3007294 | AIR PLATE COVER
3 | 6 | 3013072 | PRIMARY CONTROL BOX
3 | 7 | 3003784 | PRIMARY CONTROL SUB-BASE
3 | 8 | 3006804 | FUSE |  |  |  | 6.25 A
3 | 9 | 3002462 | TRANSFORMER - IGNITION
3 | 10 | 3002461 | HIGH VOLTAGE LEAD
3 | 11 | 3007310 | IONIZATION LEAD
3 | 12 | 3006689 | CHASSIS MONTING COLLAR
3 | 13 | 3007206 | AIR GATE
3 | 14 | 3005799 | FAN
3 | 15 | 3007307 | CAPACITOR |  |  |  | 20 μF
3 | 16 | 3005852 | MOUNTING GASKET
3 | 17 | 3005851 | UNIVERSAL MOUNTING FLANGE
3 | 18 | 3950471 | SHORT COMBUSTION HEAD
3 | 19 | 3006697 | DRAWER ASSEMBLY ELBOW
3 | 20 | 3006706 | ELECTRODE ASSEMBLY
3 | 21 | 3003409 | ELECTRODE AND IONIZATION CLAMP
3 | 22 | 3020209 | IONIZATION ASSEMBLY
3 | 23 | 3006703 | NATURAL GAS DIAPHRAGM
3 | 24 | 3006700 | DISTRIBUTOR HEAD AND MIXING PLATE
3 | 25 | 3005447 | GAS TEST POINT
3 | 26 | 3007525 | MANIFOLD
3 | 27 | 3006694 | END CONE
3 | 28 | 3000870 | HINGE ASSEMBLY

## DB HER 750 (hidden)
| Lista ricambi |  | Line Item No | Component Part | Part Description | UoM | Qty per Assembly
20632318 | STAFFA ESTERNA SOLLEVAMENTO | 74 | 1 | 20290101 | AD. "CLKE" NON TOCCARE | pcs | 1
20632307 | PANNELLO ESTERNO LATERALE DESTRO | 36 | 2 | 20290048 | AD. "PERICOLO FONTI CALORE" | pcs | 1
20632358 | PANNELLO ESTERNO LATERALE SINISTRO | 37 | 3 | 20290330 | AD. "SENSO ROTAZIONE" ROSSA | pcs | 1
20623004 | STAFFA INTERNA SOLLEVAMENTO | 75 | 4 | 20291145 | AD.APP."MUNTERS-SIAL" 500x155 BIANC | pcs | 2
20622967 | STAFFA RINFORZO LATERALE | 70 | 5 | 20632317 | ASSALE NERO R/9005 HER 220 | pcs | 1
20622956 | PANNELLO INTERNO LATERALE | 40 | 6 | 20270277 | BOX CARTONE HER 220 C | pcs | 1
20632308 | PANNELLO ESTERNO SUPERIORE | 38 | 7 | 20260045 | BUSSOLA CONICA D.int. 28mm D.95XA2 | pcs | 1
20622461 | STAFFA SUPPORTO RIPARO | 66 | 8 | 20260021 | BUSSOLA CONICA D.int.25mm D.est.70 | pcs | 1
20622960 | PANNELLO INTERNO SUPERIORIORE | 41 | 9 | 20090046 | CAMERA COMBUSTIONE ASM HER 220 | pcs | 1
20020016 | CINGHIA TRAPEZOIDALE | 15 | 10 | 20480108 | CASSETTA ELETTRICA CMPL HER 750 CED | pcs | 1
20260021 | BUSSOLA CONICA | 8 | 11 | 20390060 | CAVO GOMMA-SILICONE 3x1,5 ( 100MT ) | m | 1
20260037 | PULEGGIA | 45 | 12 | 20390142 | CAVO GOMMA-SILICONE 3x4 HEL USA | m | 3
20400072 | MOTORE | 33 | 13 | 20291141 | CERTIFICATO GARANZIA "MUNTERS" | pcs | 1
20632356 | GABBIA | 24 | 14 | 20230292 | CHIUSURA A LEVA TL-60-102-07 | pcs | 2
20632201 | STAFFA SUPPORTO SERRANDA | 78 | 15 | 20020016 | CINGHIA TRAPEZ. AX 53 13 X 1350 | pcs | 2
20632202 | SERRANDA | 63 | 16 | 20632357 | COPERCH. ISPEZIONE R/3000 HER 220 C | pcs | 1
20622377 | STAFFA SUPPORTO MOTORE | 77 | 17 | 20632309 | CRP EST. INFERIORE R/3000 HER 220 | pcs | 1
20200019 | VENTILATILATORE CENTRIFUGO | 84 | 18 | 20230116 | DADO ESAG. FLANGIATO M8 ZN ISO 4161 | pcs | 12
20260015 | PULEGGIA | 44 | 19 | 20290470 | ETICHETTA MATRICOLA APPARECCHIO | pcs | 1
20260021 | BUSSOLA CONICA | 8 | 20 | 20010024 | FASCETTA L=140 NEUTRA GW 52 233 | pcs | 5
20623660 | STAFFA SUPPORTO VENTILATORE | 68 | 21 | 20010041 | FASCETTA L=98 NERA | pcs | 3
20632357 | COPERCHIO ISPEZIONE | 16 | 22 | 20621824 | FERMA VETRINO FNT | pcs | 2
20623660 | STAFFA SUPPORTO VENTILATORE | 68 | 23 | 20230315 | FERMARUOTA D.25 CROMATO | pcs | 2
20632359 | PANNELLO POSTERIORE | 42 | 24 | 20632356 | GABBIA R/3000 HER 220 C | pcs | 1
20020006 | GOMMINO | 25 | 25 | 20020006 | GOMMINO TIPO 122/N x foro D.19 | pcs | 3
20621211 | STAFFA RINFORZO VENTILATORE | 80 | 26 | 20060019 | GUARN.D.63 TERMOISOLANTE x VETRINO | pcs | 2
20622543 | SUPPORTO VERTCALE SX VENTILATORE | 82 | 27 | 20020004 | GUARNIZIONE D. 29X35X2 | pcs | 2
20622544 | SUPPORTO VERTICALE DX VENTILATORE | 81 | 28 | 20623637 | GUIDA MULETTO Dx FNT HER 220 C | pcs | 1
20622502 | STAFFA ORIZZONTALE VENTILATORE | 73 | 29 | 20623639 | GUIDA MULETTO Sx FNT HER 220 C | pcs | 1
20623666 | RIPARO POSTERIORE | 47 | 30 | 20380176 | LIBRETTO ISTR. HER NEUTRO | pcs | 1
20620117 | COPERCHIO ISPEZIONE SCAMBIATORE | #N/A | 31 | 20610235 | MANIGLIA R/9005 HER 160 | pcs | 1
20060001 | COPERCHIO ISPEZIONE SCAMBIATORE | #N/A | 32 | 20010069 | MANOPOLA MOD.1052/M D.60 M8x25 | pcs | 2
20090046 | CAMERA COMBUSTIONE CON SCAMBIATORE | 9 | 33 | 20400072 | MOT 3,0kW 230/60 4p HEL 200 CO (05) | pcs | 1
20623664 | PROTEZIONE CORPO INFERIORE | 43 | 34 | 20280101 | PALLET FAO HER 220 CE OIL | pcs | 1
20623658 | STAFFA FISSAGGIO PROTEZIONE CORPO | 64 | 35 | 20632315 | PANN. ANTERIORE R/3000 HER 220 | pcs | 1
20622952 | STAFFA SUPPORTO CAMERA | 69 | 36 | 20632307 | PANN. EST. LATER. Dx R/3000 HER 220 | pcs | 1
20632309 | CORPO ESTERNO INFERIORE | 17 | 37 | 20632358 | PANN. EST. LATER. Sx R/3000 HER 220 | pcs | 1
20623641 | RINFORZO GUIDA MULETTO | 46 | 38 | 20632308 | PANN. EST. SUPERIORE R/3000 HER 220 | pcs | 1
20623639 | GUIDA MULETTO SINISTRA | 29 | 39 | 20623000 | PANN. INT. ZN FNT ANTERIORE HER 220 | pcs | 1
20230315 | ANELLO FERMARUOTA | 23 | 40 | 20622956 | PANN. INT. ZN. FNT LATERALE HER 220 | pcs | 2
20040023 | RUOTA | 59 | 41 | 20622960 | PANN. INT. ZN. FNT SUPERIOR HER 220 | pcs | 1
20623643 | RONDELLA | 58 | 42 | 20632359 | PANN. POST. R/3000 HER 220 C | pcs | 1
20632317 | ASSALE | 5 | 43 | 20623664 | PROTEZIONE FNT CORPO HER 220 | pcs | 1
20622954 | STAFFA SUPPORTO RUOTA GIREVOLE | 67 | 44 | 20260015 | PULEGGIA Diam. 180 X 2 BUSSOLA 2012 | pcs | 1
20040021 | RUOTA GIREVOLE CON FRENO | 60 | 45 | 20260037 | PULEGGIA Diam. 90 X 2A x BUSSOLA 16 | pcs | 1
20610235 | MANIGLIA | 31 | 46 | 20623641 | RINF. FNT GUIDA MULET. HER 220 C | pcs | 2
20230267 | RONDELLA GREMBIALINA | 56 | 47 | 20623666 | RIPARO POSTERIORE FNT HER 220 C | pcs | 1
20010069 | MANOPOLA | 32 | 48 | 20230182 | RIVETTO AVIBULB BN01-0611 D.4,8x12 | pcs | 75
20230062 | VITE | 86 | 49 | 20230262 | RIVETTO AVIBULB BN01-0614 D4,8x14,6 | pcs | 139
20623637 | GUIDA MULETTO DESTRA | 28 | 50 | 20230211 | RIVETTO AVIBULB BN01-0618 D4,8x17,6 | pcs | 30
20623000 | PANNELLO INTERNO ANTERIORE | 39 | 51 | 20230205 | RIVETTO EURO TS 0GJ08-2822 M8x1,25 | pcs | 2
20632315 | PANNELLO ANTERIORE | 35 | 52 | 20230184 | RIVETTO HEX. 9498-0516 M5 ACC. ch7 | pcs | 4
20632320 | STAFFA SUPPORTO USCITA ARIA | 79 | 53 | 20230189 | RIVETTO HEXSERT 9410-04752A M8x1,25 | pcs | 42
20230293 | AGGANCIO CHIUSURA A LEVA | #N/A | 54 | 20230136 | RONDELLA M8 ZN ISO 7089 140 HV | pcs | 24
20622545 | STAFFA SUPP RIPARO BRUCIATORE GASOLIO | 71 | 55 | 20230139 | RONDELLA DENTELLATA M8 ZN | pcs | 27
20632166 | STAFFA SUPPORTO CASSETTA ELETTRICA | 76 | 56 | 20230267 | RONDELLA GREMB. 8x32x2,5 ZN ISO7093 | pcs | 6
20210071 | UGELLO BRUCIATORE GASOLIO | #N/A | 57 | 20230150 | RONDELLA GREMBIALINA D.8x24 ZN | pcs | 15
20060019 | GUARNIZIONE | 26 | 58 | 20623643 | RONDELLA ZN D.65 - Di.26 | pcs | 2
20800019 | VETRINO | 85 | 59 | 20040023 | RUOTA D.415 x D.25 350 KG SCHIUMATA | pcs | 2
20020004 | GUARNIZIONE | 27 | 60 | 20040021 | RUOTA GIR+FRENO D180x45 1LNB1800GRD | pcs | 1
20621824 | FERMA VETRINO | 22 | 61 | 20840253 | SACCHETTO ASSALE HER 220 SP | pcs | 1
20120121 | RACCORDO "L" | #N/A | 62 | 20030015 | SACCHETTO NYLON mm.2700 sf.550x1500 | pcs | 1
20190041 | FILTRO GASOLIO DEAERATORE | #N/A | 63 | 20632202 | SERRANDA R/3000 HER 130/160 CT | pcs | 1
20120001 | RACCORDO "L" | #N/A | 64 | 20623658 | STAFFA FNT FISS. PROTEZ. CRP HER220 | pcs | 3
20624261 | STAFFA SUPP RIPARO BRUCIATORE GASOLIO | #N/A | 65 | 20623662 | STAFFA FNT PORTABULBI HER 220 | pcs | 1
| BRUCIATORE GASOLIO | #N/A | 66 | 20622461 | STAFFA FNT SUP. RIPARO GP-GC | pcs | 3
20632316 | SUPPORTO RIPARO BRUCIATORE | 83 | 67 | 20622954 | STAFFA FNT SUPP. RUOTA GIR. HER 220 | pcs | 1
20230292 | CHIUSURA A LEVA | 14 | 68 | 20623660 | STAFFA FNT SUPP. VENTIL. HER 220 C | pcs | 2
20632372 | RIPARO BRUCIATORE GASOLIO | #N/A | 69 | 20622952 | STAFFA FNT SUPPORTO CAMERA HER 220 | pcs | 4
20480116 | CASSETTA ELETTRICA | #N/A | 70 | 20622967 | STAFFA FNT ZN RINFORZO LAT. HER 220 | pcs | 2
20623740 | SUPPORTO TERMOSTATI | #N/A | 71 | 20622545 | STAFFA GZ C FNT SUP.RIP.BR. HER | pcs | 1
20360047 | TERMOSTATO LIMIT | #N/A | 72 | 20620087 | STAFFA INOX FISS.BULBI TERM.HEL-T/M | pcs | 2
20360048 | TERMOSTATO FAN | #N/A | 73 | 20622502 | STAFFA ORIZ. FNT VENTIL. GP-HER 160 | pcs | 1
20320063 | RELE' TERMICO | #N/A | 74 | 20632318 | STAFFA SOLLEV. EST. R/9005 HER 220 | pcs | 4
20340019 | CONTATTORE | #N/A | 75 | 20623004 | STAFFA SOLLEV. INT. GZ FNT HER 220 | pcs | 4
20350021 | PORTAFUSIBILE | #N/A | 76 | 20632166 | STAFFA SUP.CASS/EL. R/9005 GP-GC | pcs | 1
20350024 | FUSIBILE | #N/A | 77 | 20622377 | STAFFA SUPP. MOTORE HEL 150/200 CO | pcs | 1
20070045 | SUPPORTO RELE' | #N/A | 78 | 20632201 | STAFFA SUPP.SERR. R/3000 HER 13/16 | pcs | 2
20070044 | RELE' | #N/A | 79 | 20632320 | STAFFA SUPP.USC. AIR R/3000 HER 220 | pcs | 1
20340015 | MORSETTO | #N/A | 80 | 20621211 | STAFFA ZN RINF. VENTIL. C HEL CO | pcs | 1
20340016 | MORSETTO | #N/A | 81 | 20622544 | SUP. VERT. Dx FNT VENTIL. GP-GC 160 | pcs | 1
20320052 | INTERRUTTORE | #N/A | 82 | 20622543 | SUP. VERT. Sx FNT VENTIL. GP-GC 160 | pcs | 1
20320058 | INTERRUTTORE LUMINOSO | #N/A | 83 | 20632316 | SUPP. RIP. BRUC. R/3000 HER 220 | pcs | 1
20360046 | TERMOSTATO DI SICUREZZA | #N/A | 84 | 20200019 | VENTILAT. CENT. BC15/15 H150/200 C | pcs | 1
20430034 | INVOLUCRO PRESA TERMOSTATO | #N/A | 85 | 20800019 | VETRINO D.35 | pcs | 2
20430028 | PRESA TERMOSTATO | #N/A | 86 | 20230062 | VITE AUTOF.TCC D.4,8x9,5 ISO7049C15 | pcs | 27
20430029 | SPINA TERMOSTATO | #N/A | 87 | 20230030 | VITE T.E. M8x25 ZN ISO 4017 8.8 | pcs | 35
20430035 | INVOLUCRO SPINA TERMOSTATO | #N/A | 88 | 20230060 | VITE T.E. M8x60 ZN FILETTATO | pcs | 8
20430050 | SPINA | #N/A | 89 | 20230084 | VITE TE M5x12 ZN C/ROND.DENTELLATA | pcs | 4
20480108 | CASSETTA ELETTRICA COMPLETA | 10
20622880 | STAFFA SUPP RIPARO BRUCIATORE GAS | #N/A
| UGELLO BRUCIATORE GAS | #N/A
| BRUCIATORE GAS | #N/A
| RIPARO BRUCIATORE GAS | #N/A
| RAMPA GAS??????? | #N/A
20230075 | VITE AUTOPERFORANTE | #N/A
20620087 | STAFFA FISSAGGIO BULBI TERMOSTATI | 72
20623662 | STAFFA PORTABULBI | 65